## EVCS Barry Blair
Added 10/8/2025 | EVCS Barry Blair Calibrated Equipment
Asset Number | Serial Number | Manufacturer | Model | Description | Last Calibration Date | Calibration Due Date | Last Calibrated by | Location | Assigned to | Condition
DGATT00022 | DM9600341 | Fluke | 196C Scopemeter Color | 100MHz 1GS/s Scope Meter | 2023-10-05 | 2024-10-31 | Accura | 1st Floor EVCS | Barry Blair | Fully Functional
DGAEX00018 | Z178179 | Extech | 380926 | 2000A True RMS AC/DC Clamp-On Meter | 2023-10-04 | 2024-10-31 | Accura | 1st Floor EVCS | Barry Blair | Fully Functional
DCE00000041 | TW47310050 | Agilent | U1252A | True RMS Multimeter | 2023-10-05 | 2024-10-31 | Accura | 1st Floor EVCS | Barry Blair | Fully Functional

## 2024 Eng Lab Equip & Calibrated
[5 empty] | MAY-2024 - Calibration | OCT-24 Calibration
[5 empty] | NEW To Calibrate | Not to be Calibrated
12-05-23 updated at new building |  | All Calibrated Equipment
Blue Dot# | Asset Numbers | Serial Number | Manufacturer | Model | Description | Last Calibration Date | Calibration Due Date | Last Calibrated by | Location | Assigned to | Condition
1 | VPEQ0000014 | AQ76/7626 | Voltech | PM300 | Voltec PM100 Single Phase Power Analyzer | 2023-05-04 | 2024-05-31 | Accura | Eng Lab Shelf 2nd Floor | O'Rear | fully functional
| VPEQ0000017 | MY41003819 | Agilent | 34401A | HP 34401A |  |  | Accura | Room 204 - Hardware Lab | O'Rear | fully functional
| VPEQ0000025 | MY41000701 | Agilent | 34970A | HP/Agilent 34970A - Data Acquisition/Switch Unit |  |  | Accura | Room 210 - Mech Lab | Munroe | fully functional
| VPEQ0000026 | MY41005509 | Agilent | 34970A | HP/Agilent 34970A - Data Acquisition/Switch Unit |  |  | Accura | Room 210 - Mech Lab | Munroe | fully functional
87 | VPEQ0000048 | 3584 | LeCroy | AP015 | DC-50MHz 30A Current Probe | 2022-10-05 | 2023-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
290 | VPEQ0000060 | 8024037 | Fluke | 45 | Fluke 45 Dual Display Multimeter | 2022-10-04 | 2023-10-31 | Accura | Eng Lab Shelf 2nd Floor | O'Rear | fully functional
| VPEQ0000065 | US41005857 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A |  |  | Accura | Room 210 - Mech Lab | Munroe | fully functional
107 | VPEQ0000067 | US37245381 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A | 2023-10-23 | 2024-10-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
117 | VPEQ0000071 | MY41143677 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A | 2023-10-23 | 2024-10-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
120 | VPEQ0000072 | US41004867 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A | 2023-10-23 | 2024-10-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
112 | VPEQ0000074 | MY41143679 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A | 2023-10-23 | 2024-10-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
| VPEQ0000078 | 80570100 | Fluke | 187 True RMS Multimeter | Fluke Handheld | 2023-10-23 | 2024-10-31 | Accura | Safety | Murray | fully functional
N/A | VPEQ0000105 | US37030329 | Agilent | 34970A | HP/Agilent 34970A - Data Acquisition/Switch Unit |  |  | Accura | Room 204 - Hardware Lab |  | fully functional
110 | VPEQ0000111 | MY41008265 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A | 2023-10-23 | 2024-10-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
292 | VPEQ0000114 | 3146A38453 | Agilent | 34401A | HP 34401A | 2022-10-05 | 2023-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| VPEQ0000123 | 9330221 | Associated Research Inc | 3670 | AC-DC Hypot Tester | N/A | N/A |  | Systems Lab / Eng Lab Shelf 2nd Floor | O'Rear
119 | VPEQ0000147 | MY41143674 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A | 2023-10-23 | 2024-10-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
300 | VPEQ0000177 | 3737U15575 | HP | 4934A | HP 4934A DBR Meter | 2023-05-04 | 2024-05-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional - Not to be Calibrated
| VPEQ0000210 | 9350200 | Associated Research Inc | 3130 | Ground Bond Tester | N/A | N/A |  | Eng Lab Shelf 2nd Floor / RMA Now Has It | HOB'S First Floor / Now in RMA | fully functional
| VPEQ0000214 | 85780037 | Fluke | 187 True RMS Multimeter | Fluke Handheld | 2023-10-03 | 2024-10-31 | Accura | Room 206 - SIT Lab | Kuo | fully functional
| VPEQ0000215 | 85780038 | Fluke | 187 True RMS Multimeter | Fluke Handheld |  |  | Accura | Room 206 - SIT Lab | Kuo | fully functional
26 | VPEQ0000216 |  | Fluke | 187 True RMS Multimeter | Fluke Handheld | 2023-10-23 | 2024-10-31 | Accura | Eng Lab Shelf 2nd Floor | O'Rear | fully functional
| VPEQ0000220 | 85770629 | Fluke | III True RMS Multimeter | Fluke Handheld |  |  | Accura | Room 210 - Mech Lab | Munroe | fully functional
| VPEQ0000222 | 82240051 | Fluke | 189 True RMS Multimeter | Fluke Handheld |  |  | Accura | Room 204 - Hardware Lab | Snyder | fully functional
| VPEQ0000228 | 83510700 | Fluke | 337 | Fluke 337 Current Clamp |  | 2024-10-24 | Accura | Safety | Murray | fully functional
80 | VPEQ0000285 | MSN | LeCroy | AP011 | DC-120KHz 150A Current Probe | 2022-10-05 | 2023-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
86 | VPEQ0000286 | 0016 | LeCroy | AP015 | DC-50MHz 30A Current Probe | 2022-10-05 | 2023-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
81 | VPEQ0000287 | 0529 | LeCroy | CP150 | CP150 150A AC-DC Current Probe | 2022-10-05 | 2023-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| VPEQ0000289 | CA90/8362 | Voltech | CL100 | 100A Current Clamp (Voltech) | 2023-05-03 | 2024-05-31 | Accura | Eng Lab 2nd Floor | O'Rear | fully functional
73 | VPEQ0000294 | NSN | LeCroy | ADP305 | Active Differential Probe | 2023-05-04 | 2024-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
296 | VPEQ0000310 | 0965309 | Keithley | 2410 | 1100V SourceMeter | 2022-10-05 | 2023-10-31 | Accura | Eng Lab Shelf 2nd Floor | M. Vaughan's | Limited calibration (1) & (10) ua range not Cal
285 | VPEQ0000340 | MY44002939 | Agilent | 34970A | HP/Agilent 34970A - Data Acquisition/Switch Unit | 2023-05-03 | 2024-05-31 | Accura | Eng Lab Shelf 2nd Floor | O'Rear | fully functional
345 | VPEQ0000341 | MY41004293 | Agilent | 34908A | 40CH Multifunction Module | 2023-05-04 | 2024-05-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
113 | VPEQ0000342 | MY41013541 | Agilent | 34908A | 40CH Multifunction Module | 2023-10-03 | 2024-10-31 | Accura | Eng Lab Shelf 2nd Floor | Peter | fully functional
9 | VPEQ0000457 | 88790032 | Fluke | 187 True RMS Multimeter | Fluke Handheld | 2023-05-04 | 2024-05-31 | Accura | Eng Lab Shelf 2nd Floor | O'Rear | fully functional
121 | VPEQ0000458 |  | Fluke | 187 True RMS Multimeter | Fluke Handheld | No Cal |  |  | SIT LAB 2nd Floor | Kuo | fully functional
124 | VPEQ0000459 | 88790035 | Fluke | 187 True RMS Multimeter | Fluke Handheld |  |  | Accura | Room 210 - Mech Lab | Munroe | fully functional
346 | VPEQ0000478 | MY41005204 | Agilent | 34908A | 40CH Multifunction Module | 2023-05-04 | 2024-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| VPEQ0000479 | MY41005330 | Agilent | 34908A | 40CH Multifunction Module |  |  | Accura | Room 210 - Mech Lab | Munroe | fully functional
| VPEQ0000480 | MY41005339 | Agilent | 34908A | 40CH Multifunction Module | 2022-10-04 | 2023-10-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
| VPEQ0000512 | 5270552 | Fluke | Hydra | Hydra Series Meter | 2022-10-04 | 2023-10-31 | Accura | Eng Lab Shelf 2nd Floor | O'Rear | fully functional
| VPEQ0000532 | LCRY0301J14440 | LeCroy | 424 | Lecroy 424 |  | 10.31.22 | Accura | Room 206 - SIT Lab | Kuo | Will not power up removed from service
| VPEQ0000534 | 92820004 | Fluke | 187 True RMS Multimeter | Fluke Handheld |  |  | Accura | Room 204 - Hardware Lab | O'Rear | fully functional
| VPEQ0000538 | 92520076 | Fluke | 187 True RMS Multimeter | Fluke Handheld | 2023-10-03 | 2024-10-31 | Accura | Room 206 - SIT Lab | Kuo | fully functional
| VPEQ0000541 | 92520074 | Fluke | 187 True RMS Multimeter | Fluke Handheld |  |  | Accura | Room 206 - SIT Lab | Kuo | fully functional
| VPEQ0000547 | 92520075 | Fluke | 187 True RMS Multimeter | Fluke Handheld |  |  | Accura |  |  | fully functional
| VPEQ0000548 | 92400432 | Fluke | 337 | Fluke 337 Current Clamp |  |  | Accura | Room 204 - Hardware Lab |  | fully functional
| VPEQ0000549 | 92400430 | Fluke | 337 | Fluke 337 Current Clamp |  |  | Accura | Room 210 - Mech Lab | Munroe | fully functional
| VPEQ0000557 | 9330707 | Associated Research Inc | 3670 | AC-DC Hypot Tester | N/A | N/A |  | Eng Lab Shelf 2nd Floor / RMA Now Has It | Randy / RMA | fully functional
82 | VPEQ0000575 | 0417 | LeCroy | CP150 | CP150 150A AC-DC Current Probe | 2022-10-05 | 2023-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
70 | VPEQ0000576 | 0269 | LeCroy | CP150 | CP150 150A AC-DC Current Probe | 2023-05-04 | 2024-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
74 | VPEQ0000577 | 1041353 | LeCroy | ADP305 | Active Differential Probe | 2022-10-05 | 2023-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
71 | VPEQ0000578 | 1029100 | LeCroy | ADP305 | Active Differential Probe | 2022-10-05 | 2023-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
72 | VPEQ0000579 | 1041354 | LeCroy | ADP305 | Active Differential Probe | 2022-10-05 | 2023-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| VPEQ0000584 | 943684503 | Fluke | i1000s | AC Current Probe 1000A | 2023-10-25 | 2024-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| VPEQ0000585 | 9501 84953 | Fluke | i1000s | AC Current Probe 1000A | 2023-10-25 | 2024-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| VPEQ0000586 | 950184959 | Fluke | i1000s | AC Current Probe 1000A | 2023-10-25 | 2024-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
300 | VPEQ0000588 | AY146/3377 | Voltech | PM300 | Three Phase Power Analalyzer | 2023-05-04 | 2024-05-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
| VPEQ0000591 | CA138/0724 | Voltech | CL100 | 100A Current Clamp (Voltech) | 2022-10-04 | 2023-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| VPEQ0000592 | CA138/0718 | Voltech | CL100 | 100A Current Clamp (Voltech) | 2023-10-25 | 2024-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| VPEQ0000593 | CA138/0723 | Voltech | CL100 | 100A Current Clamp (Voltech) | 2022-10-04 | 2023-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
60 | VPEQ0000602 | 95950120 | Fluke | Fluke 336 | True RMS Clamp Meter | No Cal | No Cal |  | SIT LAB 2nd Floor | Kuo | Fully functional
59 | VPEQ0000603 | 959900463 | Fluke | Fluke 337 | True RMS Clamp Meter | No Cal | No Cal |  | SIT LAB 2nd Floor | Kuo | Fully functional
| VPEQ0000607 | MY40001884 | Agilent | E3647A | Agilent E3647A DC supply |  |  | Accura | Room 204 - Hardware Lab | ATE | fully functional
| VPEQ0000609 | MY44010987 | Agilent | 34970A | HP/Agilent 34970A - Data Acquisition/Switch Unit |  |  | Accura | Room 204 - Hardware Lab | ATE | fully functional
| VPEQ0000615 | 27EA22557 | Yokogawa | WT210 | Yokogawa WT210 Power Analyzer |  |  | Accura | Room 204 - Hardware Lab | ATE | fully functional
300-2 | VPEQ0000616 | 836 | Lecroy | Lecroy LT344L | Waverunner O Scope 500 MHz | 2023-10-03 | 2024-10-31 | Accura | Room 204 - Hardware Lab | ATE | fully functional
16 | VPEQ0000635 | MY44008556 | Agilent | 34970A | HP/Agilent 34970A - Data Acquisition/Switch Unit | 2023-05-03 | 2024-05-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
| VPEQ0000646 | NSN |  |  | Oscilloscope Passive Probe X100 | 2023-05-04 | 2024-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| VPEQ0000697 | US37046206 | Agilent | 34970A | HP/Agilent 34970A - Data Acquisition/Switch Unit |  | 10.31.22 | Accura | Room 210 - Mech Lab | Munroe | Not functional removed from service
| VPEQ0000699 | MY41054012 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A |  |  | Accura | Room 210 - Mech Lab | Munroe | fully functional
344 | VPEQ0000742 | DM9441003 | Fluke | 435 | Power Analyzer | 2023-10-25 | 2024-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| a | none | Whitworth |  | Digital Caliper |  |  | Accura | Safety | Murray | fully functional
111 | VPEQ0000826 | MY41147579 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A | 2023-10-23 | 2024-10-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
116 | VPEQ0001025 | MY41193615 | Keysight | 34901A | Keysight 20 T-Couple Module 34901A | 2023-10-23 | 2024-10-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
269 | VPEQ0001071 | MY44019817 | Keysight | 34970A | HP/Agilent 34970A - Data Acquisition/Switch Unit | 2022-10-04 | 2023-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional Peter is using
118 | VPEQ0001111 | MY41054018 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A | 2023-10-23 | 2024-10-31 | Accura | Room 210 - Mech Lab | Eng | fully functional
| VPEQ0001112 | MY41054011 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A |  |  | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
115 | VPEQ0001113 | MY41004416 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A | 2023-10-23 | 2024-10-31 | Accura | Room 210 - Mech Lab | Eng | fully functional
284 | VPEQ0001178 | C2SG28011V | Yokogawa | WT310E | Yokogawa WT310E Power Meter | 2022-10-04 | 2023-10-03 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
49 | VPEQ0001279 | C016282 | Tektronix | TDS3054C | TEK TDS3054C 4CH/500MHz | 2023-03-17 | 2024-03-31 | Accura | Eng Lab Shelf 2nd Floor | O'Rear | fully functional
| VPEQ0001314 | 55760325WS | Fluke | 393 FC CAT III 1500V | TRMS Clamp Meter | 2023-05-04 | 2024-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Nader | fully functional
27 | VPEQ0000223 | 8298008 | Fluke | FLUKE 45 | Fluke 45 Dual Display Multimeter | No Cal | No Cal |  | Eng Lab Cabinet 2nd Floor | Eng | fully functional
78 | VPEQ0000771 | 13730120 | Fluke | 336 | Fluke 336 Current Clamp | No Cal | No Cal |  | Eng 2nd Floor Cabinet | Eng | Fully Functional
128 | VPEQ0000876 | 17640822 | Fluke | 374 with probe | Fluke 374 Clamp Meter with I Flex i2500-10 Probe | No Cal | No Cal |  | Eng 2nd Floor Cabinet | Eng | Fully Functional
| Need Asset No | C22F14055V | Yokogawa | WT333E | Yokogawa WT333E Digital Power Meter | New Factory Cal | Factory Cal | Factory Cal | Eng 2nd Floor Shelf | PDU / Nader | Fully Functional PDU / Bob Benson Area
29 | VPEQ0000959 | MSO5204/C014146 | Tektronix | MSO5204 | Mixed Signal Oscilloscope 16CH 2 GHz 10 GHS/s | New CAL |  | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional - 1st Time Cal
`
`

## 2025 (May's) Eng Cal Short List
Due Date 5/31/25
Accura Took To Cal at Offiece
|  | Found In Lab | [5 empty] | Due Date 10/31/25
|  | Not Found | [5 empty] | Failed Calibration
[6 empty] | see note below!! |  | No Need To Calibrate
| 05-14-25 2nd Floor Engineering Calibrated Equip | [6 empty] | New Equipment Calibration
Chk List √ | Blue Dot# | Asset Numbers | Serial Number | Manufacturer | Model | Description | Last Calibration Date | Calibration Due Date | Last Calibrated by | Location | Assigned to | Condition & Notes
| 1 | VPEQ0000014 | AQ76/7626 | Voltech | PM300 | Voltec PM100 Single Phase Power Analyzer | 2025-05-14 | 2026-05-31 | Accura | Eng Lab 2nd Floor | O'Rear | fully functional
| 300-1 | VPEQ0000177 | 3737U15575 | HP | 4934A | HP 4934A DBR Meter | 2023-05-04 | 2024-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional, No need to Calibrate
|  | VPEQ0000289 | CA90/8362 | Voltech | CL100 | 100A Current Clamp (Voltech) | 2025-05-14 | 2026-05-31 | Accura | Eng Lab Cabinet 2nd Floor | O'Rear | fully functional
| 73 | VPEQ0000294 | NSN | LeCroy | ADP305 | Active Differential Probe | 2025-05-15 | 2026-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| 285 | VPEQ0000340 | MY44002939 | Agilent | 34970A | HP/Agilent 34970A - Data Acquisition/Switch Unit | 2025-05-14 | 2026-05-31 | Accura | Eng Lab Cabinet 2nd Floor | O'Rear | fully functional Received Back from David Lu on 2-5-26
| 345 | VPEQ0000341 | MY41004293 | Agilent | 34908A | 40CH Multifunction Card Module | 2024-05-14 | 2026-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| 9 | VPEQ0000457 | 88790032 | Fluke | 187 True RMS Multimeter | Fluke Handheld | 2023-05-04 | 2024-05-31 | Accura | Eng Lab Shelf 2nd Floor | O'Rear | 05/09/24 Failed Numerous Values in Calibration. Red Tag
| 346 | VPEQ0000478 | MY41005204 | Agilent | 34908A | 40CH Multifunction Card Module | 2025-05-14 | 2026-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| 70 | VPEQ0000576 | 0269 | LeCroy | CP150 | CP150 150A AC-DC Current Probe | 2025-05-15 | 2026-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| 300 | VPEQ0000588 | AY146/3377 | Voltech | PM300 | Three Phase Power Analalyzer | 2025-05-14 | 2026-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| 16 | VPEQ0000635 | MY44008556 | Agilent | 34970A | HP/Agilent 34970A - Data Acquisition/Switch Unit | 2025-05-15 | 2026-05-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
| 49 | VPEQ0001279 | C016282 | Tektronix | TDS3054C | TEK TDS3054C 4CH/500MHz | 2024-05-07 | 2025-05-31 | Accura | Eng Lab Shelf 2nd Floor | O'Rear | fully functional Not Found 04-29-25
| 1 | VPEQ0001314 | 55760325WS | Fluke | 393 FC CAT III 1500V | TRMS Clamp Meter | 2024-05-09 | 2025-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional / Eng --Nadar NOT FOUND SINCE 1-1-25
√ | 29 | VPEQ0000959 | MSO5204/C014146 | Tektronix | MSO5204 | Mixed Signal Oscilloscope 16CH 2 GHz 10 GHS/s | 2024-05-29 | 2025-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | Limited Cal: DC Offset to + - 1.2 percent, Time delay accur was 3 Nano Seconds at 80 Milliseconds delay.5-16-25 Accura will take to office for Calib.
| 284 | VPEQ0001178 | C2SG28011V | Yokogawa | WT310E | Yokogawa WT310E Power Meter | 2025-05-14 | 2026-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
|  | VPEQ0000646 | NSN |  | M 15 x 100 | Oscilloscope Passive Probe X100 | 2025-05-15 | 2026-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| 278 | VPEQ0000242 | LCRY0602P11777 | LeCroy | 6050 | Lecroy Waveruner LT264M 500 MHz / 5Gs/s | 2025-05-15 | 2026-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| 87 | VPEQ0000048 | 3584 | LeCroy | AP015 | DC-50MHz 30A Current Probe | 2025-05-14 | 2026-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| 80 | VPEQ0000285 | MSN | LeCroy | AP011 | DC-120KHz 150A Current Probe | 2025-05-14 | 2026-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| 86 | VPEQ0000286 | 0016 | LeCroy | AP015 | DC-50MHz 30A Current Probe | 2024-05-10 | 2025-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional , No Need To Calibrate
| 81 | VPEQ0000287 | 0529 | LeCroy | CP150 | CP150 150A AC-DC Current Probe | 2025-05-15 | 2026-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| 82 | VPEQ0000575 | 0417 | LeCroy | CP150 | CP150 150A AC-DC Current Probe | 2025-05-15 | 2026-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| 74 | VPEQ0000577 | 1041353 | LeCroy | ADP305 | Active Differential Probe | 2025-05-15 | 2026-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
| 290 | VPEQ0000060 | 8024037 | Fluke | Fluke 45 Dual Display | Fluke 45 Dual Display Multimeter | 2025-05-14 | 2026-05-31 | Accura | Eng 2nd Floor Shelf | Eng | fully functional
| 269 | VPEQ0001071 | MY44019817 | Keysight | 34970A | HP/Agilent 34970A - Data Acquisition/Switch Unit | 2025-05-14 | 2026-05-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional Peter is using
| 78 | VPEQ0000771 | 13730120 | Fluke | 336 | Fluke 336 Current Clamp | 2025-05-14 | 2026-05-31 | Accura | Eng 2nd Floor Cabinet | Eng | fully functional
| 59 | VPEQ0000603 | 95900463 | Fluke | 337 | Fluke 337 Current Clamp | 2025-05-14 | 2026-05-31 | Accura | SIT 2ND FLOOR | SIT LAB | fully functional ---Peter Has
| 128 | VPEQ0000876 | 17640822 | Fluke | 374 with probe | Fluke 374 Clamp Meter with I Flex i2500-10 Probe | 2025-05-14 | 2026-05-31 | Accura | Eng 2nd Floor Cabinet | Eng | Fully Functional / Brian using
| 121 | VPEQ0000458 |  | Fluke | 187 True RMS Multimeter | Fluke Handheld | 2024-05-07 | 2025-05-31 | Accura | Eng 2nd Floor Cabinet | Eng/Peter | Dammaged, Non Fuctional
|  | VPEQ0000296 |  |  | 112 True RMS Multimeter | Fluke Handheld | 2025-05-16 | 2026-05-31 | Accura | SIT 2ND FLOOR | Eng / Nadar | fully functional / Nadar / Peter
|  | VPEQ0000593 | CA138/0723 | Voltech | CL100 | 100A Current Clamp (Voltech) | 2025-05-14 | 2026-05-31 | Accura | Eng Lab Bench 2nd Floor | Eng | fully functional
√ | 91 | VPEQ0001168 |  | Tektronix | THDP0200 | 200 MHz, High Voltage Differential Probe | Not ablt to Cal | Not ablt to Cal | Accura | Eng 2nd Floor Cabinet | Eng | 05/09/24 Accura will take to office for Cal. Returned unable to Calibrate / Note: try with Scope? 5-16-25 Accura will take to office for Calib.
| 293 | VPEQ0000115 | 3146A29293 | HP | 34401A | HP 34401A | 2025-05-14 | 2026-05-31 | Accura | Eng Lab 2nd Floor (Randy) | Eng | fully functional
√ | 108 | VPEQ0001188 | SG44001660 | Keysight | 34970A | HP/Agilent 34970A - Data Acquisition/Switch Unit | Need New Cal |  | Accura |  | Eng | fully functional.
| 53 | VPEQ0000531 |  | LeCroy | 64Xi | Lecroy Waveruner 64xi 600 MHz /10 GS/s | 2025-05-14 | 2026-05-31 | Accura |  | Eng | Limited Function, CH3 not working.
√ |  | Need Asset No | C020792 | Tektronix | P5205A | 100MHz, High Voltage Differential Probe | 2024-06-04 | 2025-06-30 | Accura | Eng 2nd Floor Cabinet | Eng | fully functional
|  | VPEQ0001153 |  | Simpson | 228 | Simpson 228 Leakage Current Tester | 2025-05-15 | 2026-05-31 | Accura | John Murray | UL | fully functional
√ |  | VPEQ0001538 | DGATT000024 | Agilent | MY44043404 | HP/Agilent 34970A - Data Acquisition/Switch Unit | 2025-06-27 | 2026-06-30 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional.
√ |  | Need Asset No | 107278YHDV | AEMC INSTR | JM861 | 600V AC Current Probe | New Cal |  | Accura | Eng 2nd Floor Cabinet | Eng | fully functional
√ |  | Need Asset No | 106753XKDV | AEMC INSTR | JM861 | 600V AC Current Probe | New Cal |  | Accura | Eng 2nd Floor Cabinet | Eng | fully functional
√ |  | Need Asset No | 106754XKDV | AEMC INSTR | JM861 | 600V AC Current Probe | New Cal |  | Accura | Eng 2nd Floor Cabinet | Eng | fully functional
|  | VPEQ0000226 | nsn | Ergonomics Inc. | ITB-01 | Steel Ball | 2025-05-27 | 2026-05-31 | Accura | John Murray | UL | fully functional. 5-27-25 Accura Returned after Calibration
|  | VPEQ0000225 | 104 | Ergonomics Inc. | ULP01 | Jointed Finger Probe | 2025-05-27 | 2026-05-31 | Accura | John Murray | UL | fully functional. 5-27-25 Accura Returned after Calibration
|  | VPEQ0000227 | 79 | Ergonomics Inc. | BPA10 | Ball Pressure Apparatus | 2025-05-27 | 2026-05-31 | Accura | John Murray | UL | fully functional. 5-27-25 Accura Returned after Calibration
`
Note: Ask Danniel if we can get (2) Keysight or Agilent Data Acquisition/ Switch Units Calibrated from 5-15-25 to 10-15-26.

## 2025 Oct Calibration
OCT-25 Calibration
[7 empty] | New Calibration | Done
| 08-21-25 updated at new building |  | Oct 2025 Equipment to be Calibrated
| Blue Dot# | Asset Numbers | Serial Number | Manufacturer | Model | Description | Last Calibration Date | Calibration Due Date | Last Calibrated by | Location | Assigned to | Condition
√ | 107 | VPEQ0000067 | US37245381 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A | 2025-10-03 | 2026-10-31 | Accura | Eng Lab Shelf 2nd Floor | O'Rear | fully functional
√ | 117 | VPEQ0000071 | MY41143677 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A | 2025-10-03 | 2026-10-31 | Accura | PDU, Brian | Eng | fully functional
√ | 120 | VPEQ0000072 | US41004867 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A | 2025-10-03 | 2026-10-31 | Accura | PDU, Brian | Eng | fully functional
√ | 112 | VPEQ0000074 | MY41143679 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A | 2025-10-03 | 2026-10-31 | Accura | PDU, Brian | Eng | fully functional
√ | Murray | VPEQ0000078 | 80570100 | Fluke | 187 True RMS Multimeter | Fluke Handheld | 2025-10-03 | 2026-10-31 | Accura | Safety | Murray | fully functional
√ | 110 | VPEQ0000111 | MY41008265 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A | 2025-10-03 | 2026-10-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
√ | 119 | VPEQ0000147 | MY41143674 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A | 2025-10-03 | 2026-10-31 | Accura | PDU, Brian | Eng | fully functional
√ | Murray | VPEQ0000228 | 83510700 | Fluke | 337 | Fluke 337 Current Clamp | 2025-10-03 | 2026-10-31 | Accura | SAFETY | Murray | fully functional
√ | 113 | VPEQ0000342 | MY41013541 | Agilent | 34908A | 40CH Multifunction Module | 2025-10-03 | 2026-10-31 | Accura | Eng Lab Shelf 2nd Floor | Kuo | fully functional
√ | 8 | VPEQ0000538 | 92520076 | Fluke | 187 True RMS Multimeter | Fluke Handheld | 2025-10-03 | 2026-10-31 | Accura | Room 206 - SIT Lab | Kuo | fully functional
√ |  | VPEQ0000584 | 943684503 | Fluke | i1000s | AC Current Probe 1000A | 2025-10-03 | 2026-10-31 | Accura | RP240 | Eng | fully functional
√ |  | VPEQ0000585 | 9501 84953 | Fluke | i1000s | AC Current Probe 1000A | 2025-10-03 | 2026-10-31 | Accura | RP240 | Eng | fully functional
√ |  | VPEQ0000586 | 950184959 | Fluke | i1000s | AC Current Probe 1000A | 2025-10-03 | 2026-10-31 | Accura | RP240 | Eng | fully functional
√ |  | VPEQ0000592 | CA138/0718 | Voltech | CL100 | 100A Current Clamp (Voltech) | 2025-10-03 | 2026-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
√ | 289 | VPEQ0000581 | 04NN57390v | Tektronix | A622 | AC/DC Current Probe | 2025-10-03 | 2026-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
√ | 344 | VPEQ0000742 | DM9441003 | Fluke | 435 | Power Analyzer | 2025-10-06 | 2026-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully functional
√ | 111 | VPEQ0000826 | MY41147579 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A | 2025-10-03 | 2026-10-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
√ | 116 | VPEQ0001025 | MY41193615 | Keysight | 34901A | Keysight 20 T-Couple Module 34901A | 2025-10-03 | 2026-10-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
√ | 118 | VPEQ0001111 | MY41054018 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A | 2025-10-03 | 2026-10-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
√ | 115 | VPEQ0001113 | MY41004416 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A | 2025-10-03 | 2026-10-31 | Accura | PDU | Eng | fully functional
√ | 325 | VPEQ0001298 | C023272 | Tektronix | P5205A | 100 MHz, High Voltage Diff Probe | 2024-10-03 | 2025-10-31 | Accura | Eng Lab Cabinet 2nd Floor | Eng | fully func,Did not Calibrate Due to Old Scope
√ | 273 | VPEQ0000214 | 85780037 | Fluke | 187 True RMS Multimeter | Fluke Handheld | 2025-10-03 | 2026-10-31 | Accura | ENG - SIT Lab | Kuo | fully functional
√ |  | VPEQ0001048 | PH50293781 | Keysight | N2791A | 25 MHz Differential Probe | 2025-10-03 | 2026-10-31 | Accura | Eng 2nd Floor ATS | ATS ENG LAB | fully functional
√ | Randy | VPEQ0001383 | 65780163 | Fluke | Fluke-87V-MAX | RMS Digital Multimeter | 2025-10-03 | 2026-10-31 | Accura | Eng Lab 2nd Floor | O'Rear | fully functional: 10-3-24 New in Box
√ | Nadar | VPEQ0001384 | 65780186 | Fluke | Fluke-87V-MAX | RMS Digital Multimeter | 2025-10-03 | 2026-10-31 | Accura | Eng Lab 2nd Floor | Nadar | fully functional: 10-3-24 New in Box
√ |  | VPEQ0001487 | T11A23275 | Yokogawa | WT333E | Digital Power Meter | 2025-01-31 | 2026-01-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
√ |  | VPEQ0001486 | T11912803 | Yokogawa | WT333E | Digital Power Meter | 2025-01-29 | 2026-01-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
√ |  | 10002348 | C2ZL20001V | Yokogawa | WT1806E | Digital Power Analyzer | NEED CAL | NEED CAL | NEED CAL | Eng Lab Cabinet 2nd Floor | Eng | fully functional
√ | 286 | VPEQ0001074 | 02NN39617DV | Tektronix | A621 | AC Current Probe 1000A | NEED CAL | NEED CAL | NEED CAL | Eng Lab 2nd Floor | Eng | fully functi,Accura will take back to Office to Cal
√ | 89 | VPEQ0001299 | PH57140010 | Keysight | N2791A | 25 MHz Differential Probe | NEED CAL | NEED CAL | NEED CAL | Eng Lab Cabinet 2nd Floor | Eng | fully functional
`

## Non Calibration Equip
01-10-24 at new 601 Building |  | Non Calibrated Equipment
Blue Dot # | Asset Number | Serial Number | Manufacturer | Model | Description | Last Calibration Date | Calibration Due Date | Last Calibrated by | Location | Assigned to | Condition
280 | 6 | B020974 | Tektronix | 2245A | Tektronix 2245A 100MHz Osililloscope | N/A | N/A | N/A | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
| Delta Greentech DGATT0024 | MY44043404 | Agilent | Aglient 34970A | Aglient 34970A Data Acquisition/Switch Unit | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
| IN424 | 2137A09088 | HP | 3468A | HP 3468A Multimeter | N/A | N/A |  | SIT 2nd Floor | P. Kuo | Fully Functional / Reference Only
266 | IN436 | 2137A10615 | HP | HP 3468A Multimeter | HP 3468A Multimeter | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
31 | IN562 | 4850221 | Fluke | Fluke 45 Dual Display | Fluke 45 Dual Display Multimeter | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
| IN820 | 63012593 | Fluke | 80i-1010 | DC/ AC Current Probe | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
7 | IN854 | 2137A13967 | HP | 3468A | HP 3468A Multimeter | N/A | N/A |  | SIT 2nd Floor | P. Kuo | Fully Functional / Reference Only
| L914 | 73900078 | Fluke | 8060 TRUE RMS Multimeter | Fluke Handheld Multimeter | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
322 | N/A | 794651 | Keithley | 2000 Multimeter | 2000 Multimeter | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
260 | N/A | Z396708 | Extech Instruments | Extech 461891 | Digital Contact Tachometer | 2021-08-30 | 2022-08-30 | Extech | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
108 | N/A | SG44001660 | Keysight | Keysight 34970A | Keysight 34970A Data Acquisition/Switch Unit | N/A | N/A | N/A | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
261 | N/A | PS280 TW57607 | Tektronix | PS280 | Tektronix DC Power Supply | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
32 | N/A | E-10100 | Kepco | ABC | Kepco ABC Regulated DC Power Supply | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
295 | N/A | 37382 | Clarke-hess | 255 | Clarke-hess Digital V-A-W Meter | 2007-11-13 | 2008-11-13 | Caltronix | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
282 | N/A | MY40005220 | Agilent | 54422D | Agilent Mixed Signal Oscilloscope 100MHz / 200MS | 2016-09-13 | N/A | Value Tronics | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
343 | N/A | MY40001177 | Agilent | 54422D | Agilent Mixed Signal Oscilloscope 100MHz / 200MS | N/A | N/A |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
10 | N/A | B010331 | Tektronix | TDS 320 | Tektronix Two Ch Oscilloscope 100MHz / 500MS | N/A | N/A |  | Eng 2nd Floor Shelf | Nadar | Fully Functional / Reference Only
| N/A | 265 0200 0265 | BK Precision | 1740 | DC Power Supply | N/A | N/A |  | Eng 2nd Floor Shelf | Nadar | Fully Functional / Reference Only
| N/A | US37039814 | Agilent | Aglient 34970A | Aglient 34970A Data Acquisition/Switch Unit | N/A | N/A |  | SIT 2nd Floor | P. Kuo | Fully Functional / Reference Only
| N/A | 8990 | Fischer Custom Comm | P/N F-61 | FCC RF Current Probe 1MHz-1GHz | N/A |  |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
262 | N/A | 10246U | Yew (Yokogawa Elec Works | Current-Amp Meter | Yew Analog Current Amp Meter | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
263 | N/A | 10248U | Yew | Current-Amp Meter | Yew Analog Current Amp Meter | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
264 | N/A | 93638S | Yew | Current-Amp Meter | Yew Analog Current Amp Meter | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
334 | N/A | 0530-007950-001 | Cambridge AccuSense | ATM-24 | Airflow Temperature Monitor ATM-24 | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
| N/A | 97640085 | Fluke | Fluke-287 | Fluke-287 True RMS Multimeter | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
| N/A |  | Fluke | 111 True RMS Multimeter | Fluke Handheld Multimeter | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
| N/A | 20051901345 | Velleman | DVM850BL | Velleman Digital Multimeter | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
276 | VPEQ0000005 | 00717 | LeCroy | LT264M | Lecroy Waveruner LT264M 350 MHz / 1Gs/s | 2016-10-03 | 2017-10-03 | Accura | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
342 | VPEQ0000006 | MY40005441 | Agilent | 54622D | Aglient Mixed Signal Oscilloscope 100MHz/ 200ms | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
336 | VPEQ0000012 | AQ75/7528 | Voltech | PM100 | Voltech PM100 Single Phase Power Analyzer | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
347 | VPEQ0000013 | AQ76/7630 | Voltech | PM100 | Voltech PM100 Single Phase Power Analyzer | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
| VPEQ0000021 |  | Topward | 6603A | Topward Dual Tracking DC Power Supply | N/A | N/A |  | SIT 2nd Floor | P. Kuo | Fully Functional / Reference Only
337 | VPEQ0000027 | 693354 | Topward | 8140 | Topward 8140 Fuction Generator | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
| VPEQ0000031 | 79070393 | Fluke | 87 III True RMS Multimeter | Fluke Handheld Multimeter | N/A | N/A |  | SIT 2nd Floor | P. Kuo | Fully Functional / Reference Only
| VPEQ0000032 |  | Fluke | Fluke-87 | Fluke-87 True RMS Multimeter | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
| VPEQ0000039 | 77150454 | Fluke | Fluke 87 III | Fluke 87 III True RMS Multimeter | N/A |  |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
| VPEQ0000041 | 79330082 | Fluke | 111 True RMS Multimeter | Fluke Handheld Multimeter | N/A |  |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
| VPEQ0000042 | 77150442 | Fluke | Fluke 87 III | Fluke 87 III True RMS Multimeter | N/A |  |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
| VPEQ0000047 | 64 | Fischer Custom Comm. | Current - Fischer F-16 | RF Current Probe - 1KHz -50MHz | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
338 | VPEQ0000063 | 8010040 | Fluke | Fluke 45 Dual Display | Fluke 45 Dual Display Multimeter | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
| VPEQ0000079 | 80630051 | Fluke | Fluke-187 | Fluke-187 True RMS Multimeter | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Battery Connector Bad
28 | VPEQ0000080 |  | Topward | 6603A | Topward Dual Tracking DC Power Supply | N/A | N/A |  | SIT 2nd Floor | P. Kuo | Fully Functional / Reference Only
15 | VPEQ0000082 |  | Topward | 6603D | Topward Dual Tracking DC Power Supply | N/A | N/A |  | SIT 2nd Floor | P. Kuo | Fully Functional / Reference Only
125 | VPEQ0000102 | 020101806 | Wavetek | 5XL | Wavetek Meterman (Meter) | N/A | N/A |  | Mech Rm 1st Floor | Victor | Fully Functional / Reference Only
314 | VPEQ0000123 | 9330221 | Assoc Research Inc | 3670 | Hypot III | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
51 | VPEQ0000190 | B015946 | Tektronix | TDS3032B | TEK TDS3032B | N/A | N/A | Nobs Missing | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
| VPEQ0000195 | 84060279 | Fluke | 111 True RMS Multimeter | Fluke Handheld Multimeter | N/A | N/A |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
| VPEQ0000217 | 85780040 | Fluke | Fluke-187 | Fluke-187 True RMS Multimeter | N/A | N/A |  | Mech Rm 1st Floor | Victor | Fully Functional / Reference Only
27 | VPEQ0000223 | 8298008 | Fluke | Fluke 45 Dual Display | Fluke 45 Dual Display Multimeter | N/A | N/A |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
3 | VPEQ0000231 |  | GW | GPC-6030D | GW Dual Tracking Power Supply | N/A | N/A |  | Eng 2nd Floor Shelf | Nadar | Fully Functional / Reference Only
268 | VPEQ0000232 | E812340 | GW | GPC-6030D | GW Dual Tracking Power Supply | N/A | N/A |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
92 | VPEQ0000240 | B020767 | Tektronix | P5205 | Active Differential Probe | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
278 | VPEQ0000242 | LCRY0602P11777 | LeCroy | 6050 | Lecroy Waveruner LT264M 500 MHz / 5Gs/s | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
77 | VPEQ0000249 | 84156845 | Fluke | Fluke - 336 | True RMS Clamp Volt / Current Meter | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
| VPEQ0000290 | CA90/8361 | Bradford England / Voltech | CL100 | 100A Current Clamp (Voltech) | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
69 | VPEQ0000295 |  | LeCroy | ADP305 | High Voltage Differential Probe | N/A | N/A | Ref Only | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
340 | VPEQ0000437 | 2534GA931 | Yokogawa | WT110 | Yokogawa WT110 Digital Power Meter | 2017-05-02 | 2018-05-02 | Accura | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
| VPEQ0000444 | NSN1388820A | Tektronix | P6021 | TEK 6021 Current | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
| VPEQ0000445 | X001937 | Tektronix | P6021 | TEK 6021 Current | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
12 | VPEQ0000474 | AX110/2314 | Voltech | PM100 | Voltech PM100 Single Phase Power Analyzer | N/A | N/A | Ref Only | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
339 | VPEQ0000489 | 27EA15596 | Yokogawa | WT210 | Yokogawa WT210 Digital Power Meter | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
| VPEQ0000539 |  | Fluke | Fluke-187 | Fluke-187 True RMS Multimeter | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
281 | VPEQ0000543 | 920909 | Fluke | Fluke 45 Dual Display | Fluke 45 Dual Display Multimeter | N/A | N/A |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
348 | VPEQ0000544 | AV130/2914 | Voltech | PM300 | Voltech PM300 Three Phase Power Analyzer | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
| VPEQ0000545 | X002660 | Tektronix | P6021 | TEK 6021 Current | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
129 | VPEQ0000549 | 92400430 | Fluke | 337 | Fluke 337 Current Clamp | N/A | N/A |  | Mech Rm 1st Floor | Victor | Fully Functional / Reference Only
288 | VPEQ0000583 | 11EE6417Dv | Tektronix | A622 | AC/DC Current Probe | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
85 | VPEQ0000546 | P0840763388 | LeCroy | AP015 | Current Probe DC-50MHz, Max Peak 50A | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
287 | VPEQ0000580 | 11EE64190v | Tektronix | A622 | AC/DC Current Probe | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
289 | VPEQ0000581 | 11EE6420Dv | Tektronix | A622 | AC/DC Current Probe | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
90 | VPEQ0000582 | 11EE6435Dv | Tektronix | A622 | AC/DC Current Probe | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
| VPEQ0000587 | 907 | Fischer Custom Comm. | Current - Fischer F-33-1 | RF Current Probe - 10KHz - 250MHz | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
| VPEQ0000594 | CA142 / 0961 | Bradford England / Voltech | CL100 | 100A Current Clamp (Voltech) | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
| VPEQ0000595 | CA142 / 0959 | Bradford England / Voltech | CL100 | 100A Current Clamp (Voltech) | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
| VPEQ0000596 | CA142 / 0960 | Bradford England / Voltech | CL100 | 100A Current Clamp (Voltech) | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
279 | VPEQ0000601 | 2137A06490 | HP | HP 3468A Multimeter | HP 3468A Multimeter | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
| VPEQ0000605 | C6941304 | Wavetek | 270 | Wavetek 12 MHz Programmable Function Generator | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
| VPEQ0000625 | 0516-0370 | TDI | TDI -100-300-2000 | TDI Electronic Load | N/A | N/A | replaced RMA | Eng 2nd Floor Shelf | Eng | Was sent out for repair and returned, OK
331 | VPEQ0000631 | 5104 | Schaffner | NSG 435 | ESD Simulator | 2015-05-14 | 2016-05-14 | Accura | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
333 | VPEQ0000632 | 346 | Schaffner | NSG 431 | Static Discharge Simulator 2 to 21KV | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
| VPEQ0000636 | MY41004292 | Agilent | 34980A | 40CH Multifuction | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
294 | VPEQ0000648 | E813167 | GW | GPC-6030D | GW Dual Tracking Power Supply | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
84 | VPEQ0000659 | 72033 | Probe Master | 4241A | High Voltage Differential Probe | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
| VPEQ0000683 | 87020055 | Fluke | Fluke-189 | Fluke-189 True RMS Multimeter | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
335 | VPEQ0000686 | 2943U01637 | HP | 4934A | Hewlet Packard 4934A Prog Function Generator | N/A |  |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
| VPEQ0000698 | 95871045 | Fluke | 115 True RMS Multimeter | Fluke Handheld Multimeter | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
76 | VPEQ0000768 | 1290129 | Fluke | Fluke - 336 | True RMS Clamp Volt / Current Meter | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
79 | VPEQ0000770 | 13420012 | Fluke | Fluke - 336 | True RMS Clamp Volt / Current Meter | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
283 | VPEQ0000808 |  | Agilent | 34970A | Aglient 34970A Data Acquisition/Switch Unit | N/A | N/A |  | Eng 2nd Floor Shelf | Eng | Fully Functional / Reference Only
| VPEQ0000874 | 130396 | Esco Technologies | 7405-907B | Near-Field Probe Set Broadband Amplifier | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
127 | VPEQ0000875 | 18600730 | Fluke | 376 with probe | Fluke 376 Clamp Meter with I Flex i2500-18 Probe | N/A | N/A |  | Mech Rm 1st Floor | Victor | Fully Functional / Reference Only
132 | VPEQ0000938 | 49039324 | Flir | Flir- E49001 | Fllir- E50 Thermal Canera | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
88 | VPEQ0001066 |  | Extech Instruments | 407113 | CFM/CMM Thermo-Anemometer | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
286 | VPEQ0001074 | 02NN39617DV | Tektronix | A621 | AC Current Probe 1000A | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
75 | VPEQ0001075 | C002035 | Tektronix | TCP202A | Small Current Probe 15ADC | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
67 | VPEQ0001124 | 33114-5967 | Tektronix | TRCP0300 | Current Waveform Transducer (Loop Ring) | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
68 | VPEQ0001125 | 33112-5965 | Tektronix | TRCP0300 | Current Waveform Transducer (Loop Ring) | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
91 | VPEQ0001168 | C024709 | Tektronix | THDP0200 | Active Differential Probe (For the Tek Mso 5204 Oscope) | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
105 | VPEQ0001189 | MY57000268 | Keysight | 34901A | 20 Channel Multiplexer | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
330 | VPEQ0001190 | MY57000256 | Keysight | 34901A | 20 Channel Multiplexer | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
66 | VPEQ0001196 | 35752-7017 | CWT | CWT-PEM | Rogowski Current WaveformTransducer Pk Cur: 120.0A | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
324 | VPEQ0001208 | C025314 | Tektronix | P5205A | Active Differential Probe | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Limited-Shows Offset Issue
| N/A | C020792 | Tektronix | P5205A | Active Differential Probe | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
298 | VPEQ0001242 | CU640/123 | Pico | PicoScope 4824 | 20 MHz 80MS/s PC Oscilloscope | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
325 | VPEQ0001298 | C023272 | Tektronix | P5205A | Active Differential Probe | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
64 | VPEQ0001300 | 56962-15112 | CWT | CWT-PEM | Rogowski Current WaveformTransducer Pk Cur: 300.0A | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
66 | VPEQ0001301 | 59100-16060 | CWT | CWT-PEM | Rogowski Current WaveformTransducer Pk Cur: 600.0A | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
| VPEQ0001302 | 58129-15682 | CWT | CWT-PEM | Rogowski Current WaveformTransducer Pk Cur: 120.0A | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
29 | VPEQ0000959 | C014146 | Tektronix | MSO 5204 | Tektronix 4/16 CH Oscilliscope 2GHz | 2017-05-03 | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
48 | VPEQ001274 | TDS3014 B018429 | Tektronix | TDS 3014 | Tektronix 4 Channel Osciliscope 100MHz / 1.25 GS (flopy Drv) | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
44 |  | PS280 TW58327 | Tektronix | PS280 | Tektronix PS280 DC Power Supply | N/A | N/A |  | SIT 2nd Floor | P. Kuo | Fully Functional / Reference Only
|  | 120270 | Fluke | 80T-IR | Fluke Infared Temperature Probe 0 to 500F/-18 to 260 C | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
257 | N/A | N/A | LeCroy |  | PPE 2KV 100:1 400 MHz High Voltage Probe | N/A | N/A |  | Eng 2nd Floor Cabinet | Eng | Fully Functional / Qty = 7
| VPEQ0000016 | US39440471 | HP | E4401B | Spectrum Analyzer | N/A | N/A |  | Eng 2nd Floor Table | Eng | Fully Functional / Reference Only
| VPEQ0000610 | MY44011083 | Agilent | 34970A | Agilent 34970A | N/A | N/A |  | Eng 2nd Floor / Eng ATS | Eng | Fully Functional / Reference Only
301 | N/A | 631400008464 | Chroma | 63114 | Chroma 63114 DC Electronic Load Mainframe 8 ch |  |  |  | Eng 2nd Floor / Eng ATS | Eng | Fully Functional / Reference Only
| VPEQ0000625 | 0516 - 0370 | TDI | RBL488 400-300-2000 | Electronic Load 400V / 300A | N/A | N/A | N/A | Eng 2nd Floor / Boxed | Eng | Unknown
30 | N/A | 3507 | Chroma | 6530 | Programable AC Source | N/A | N/A | N/A | Eng 2nd Floor | Eng | Unknown
50 | VPEQ0000193 | B028330 | Tektronix | TDS3034B | TEK TDS3034B 4CH/300MHz | 10.8.21 | 10.31.22 | Accura | Eng Lab Shelf 2nd Floor | Cabinet | Vertical and Horizontal Controls Slips, Limited calibration (at or below 5mV scale noisey)
265 | IN447 | 2137A11194 | HP | 3468 | DMM | 2022-10-04 | 2023-10-31 | Accura | Eng Lab Shelf 2nd Floor | Eng | fully functional
297 | VPEQ0000513 | 3146A33487 | Agilent | 34401A | HP 34401A | 2022-10-04 | 2023-10-31 | Accura | Eng Lab Shelf 2nd Floor | Cabinet | fully functional
| VPEQ0000698 |  | Fluke | 115 True RMS Multimeter | Fluke Handheld | 1 | 10.4.16 | na | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
71 | VPEQ0000578 | 1029100 | LeCroy | ADP305 | Active Differential Probe | 2022-10-05 | 2023-10-31 | Accura | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only
72 | VPEQ0000579 | 1041354 | LeCroy | ADP305 | Active Differential Probe | 2022-10-05 | 2023-10-31 | Accura | Eng 2nd Floor Cabinet | Eng | Fully Functional / Reference Only

## Eng ATS Calibration Equip
MAY'S Calibration
OCT Calibration
Not to be Calibrated
05-14-24 Updated at new building |  | Eng Automated Test Sets Calibrated Equip
Blue Dot# | Asset Number | Serial Number | Manufacturer | Model | Description | Last Calibration Date | Calibration Due Date | Last Calibrated by | Location | Assigned to | Condition
Eng
111
170 | VPEQ0000589 | AU30 / 2636 | Voltech | PM3000 | Three Phase Power Analyzer | 2023-05-31 | N/A | Accura | Eng 2nd Floor Eng ATS | Eng | Fully Functional
300 | VPEQ0000615 | 27EA22557 | Yokogawa | WT210 | Yokogawa WT210 Power Analyzer | 2023-10-25 | 2024-10-21 | Accura | Eng 2nd Floor Eng ATS | Eng | Fully Functional
300 | VPEQ0000609 | MY44010987 | Agilent | 34970A | HP/Agilent 34970A - Data Acquisition/Switch Unit | 2023-10-25 | 2024-10-31 | Accura | Eng 2nd Floor Eng ATS | Eng | Fully Functional
300 | VPEQ0001049 | MY54410123 | Keysight | DSO6012A-ATO-62342 | 2 ch, 100 MHz , 2 GS/s | 2025-05-16 | 2026-05-31 | Accura | Eng 2nd Floor Eng ATS | Eng | Fully Functional
300 | VPEQ0000607 | MY40001884 | Agilent | E3647A | Agilent E3647A Dual Output DC Power Supply | 2023-10-25 | 2024-10-31 | Accura | Eng 2nd Floor Eng ATS | Eng | Fully Functional
300 | VPEQ0001048 | PH50293781 | Keysight | N2791A | 25MHz Differential Probe | 2024-10-01 | 2025-10-31 | Accura | Eng 2nd Floor Eng ATS | Eng | Needs Calibrated
300-2 | VPEQ0000616 | 836 | Lecroy | Lecroy LT344L | Waverunner O Scope 500 MHz | 2023-10-03 | 2024-10-31 | Accura | Eng 2nd Floor Eng ATS | ATS | fully functional

## RMA ATS Calibrated Equip
01-10-24 at new building |  | RMA Automated Test Sets Calibrated Equip
| Asset Number | Serial Number | Manufacturer | Model | Description | Last Calibration Date | Calibration Due Date | Last Calibrated by | Location | Assigned to | Condition
| FS560 | 1689883 | Anologic Meter |  | Digital Meter | 2024-05-31 |  | ACCURA | Bench 10 | RMA | Fully Functional
| FS407/FS467 | NSN | Anologic Meter |  | Digital Meter | 2024-05-31 |  | ACCURA | Bench 10 | RMA | Fully Functional
| FS1053/IN1134 | FL0212253903 | Simpson Meter |  | Digital Meter | 2024-05-31 |  | ACCURA | Bench 17 | RMA | Fully Functional
| FS105 | 2220026 | Newport Meter |  | Digital Meter | 2024-05-31 |  | ACCURA | Bench 17 | RMA | Fully Functional
| FS1051 | FL0222664603 | Simpson Meter |  | Digital Meter | 2024-05-31 |  | ACCURA | Bench 17 | RMA | Fully Functional
| FS1052 | FL022674803 | Simpson Meter |  | Digital Meter | 2024-05-31 |  | ACCURA | Bench 17 | RMA | Fully Functional
| FS1055 | 2220023 | Newport Meter |  | Digital Meter | 2024-05-31 |  | ACCURA | Bench 17 | RMA | Fully Functional
| VPEQ0001303 | PH60360066 | Diff Probe | Keysight | Diff Probe | 2024-05-31 | 2023-05-02 | ACCURA | Bench 31 | RMA | Fully Functional
| VPEQ0001304 | PH60360048 | Diff Probe |  | Diff Probe | 2024-05-31 |  | ACCURA | Bench 32 | RMA | Fully Functional
| VPEQ0000206 | 9350162 | Associated Research |  | Hipot Tester | 2024-10-31 |  | ACCURA | ATM Test Station | RMA | Fully Functional
| VPEQ0000199 | 9350202 | Associated Research |  | Hipot Tester | 2024-10-31 |  | ACCURA | ATM Test Station | RMA | Fully Functional
| VPEQ0000308 | US37029296 | Agilent 34970A |  | Data Acquisition Switch | 2024-10-31 |  | ACCURA | Bench 31 | RMA | Fully Functional
| VPEQ0000311 | VPEQ311 | WT210 Power Meter |  | Power Meter | 2024-10-31 |  | ACCURA | Bench 31 | RMA | Fully Functional
| VPEQ0000309 | MY4000810 | Agilent E3647A | Agilent | Power Supply | 2024-10-31 |  | ACCURA | Bench 31 | RMA | Fully Functional
| VPEQ0000305 | MY40005612 | Agilent 54621A |  | Scope | 2024-10-31 |  | ACCURA | Bench 31 | RMA | Fully Functional
| VPEQ0000502 | US37023275 | HP 34970A |  | Data Acquisition/Switch unit | 2024-10-31 |  | ACCURA | Bench 32 | RMA | Fully Functional
| VPEQ0000663 | 91F934829 | WT230 Power Meter |  | Power Meter | 2024-10-31 |  | ACCURA | Bench 32 | RMA | Fully Functional
| VPEQ0000491 | MY40001681 | Agilent E3647A |  | Power Supply | 2024-10-31 |  | ACCURA | Bench 32 | RMA | Fully Functional
| VPEQ0000490 | MY4007506 | Agilent 54621A |  | Scope | 2024-10-31 |  | ACCURA | Bench 32 | RMA | Fully Functional
| VPEQ0001262 | 192802000000 | DESCO Heel Strap Tester |  | ESD Heel Strap Tester | 2024-10-31 |  | ACCURA | Heel Strap Testing Area | RMA | Fully Functional
| VPEQ0001207 | 9760970 | Dielectric Analyzer |  | Hipot Tester | 2024-10-31 |  | ACCURA | Test Station | RMA | Fully Functional
| VPEQ0000204 | 9330316 | Associated Research |  | Hipot Tester | 2024-10-31 |  | ACCURA | Test Station | RMA | Fully Functional
| VPEQ0000208 | 9330363 | Associated Research |  | Hipot Tester | 2024-10-31 |  | ACCURA | Test Station/Programing Bench | RMA | Fully Functional
| VPEQ0000969 | MY44081753 |  | Agilent 34970A | Data Acquisition Switch | 2024-10-31 |  | ACCURA | Test Station/Programing Bench | RMA | Fully Functional
| VPEQ0000941 | US12M4415B | Agilent Technologies | N8762A | System DC Power Supply | 2024-10-31 |  | ACCURA | Bench 17 | RMA | Fully Functional
| VPEQ0000811 | 2536A-00173 | Hp | 6010A | DC Power Supply | 2024-05-31 |  | ACCURA | Bench 17 | RMA | Fully Functional
[8 empty] | ACCURA |  | RMA | Fully Functional
[8 empty] | ACCURA |  | RMA

## Non Working Equip
01-10-24 at new building |  | Non Working Equipment
Blue Dot# | VPEQ | Serial Number | Manufacturer | Model | Description | Last Calibration Date | Calibration Due Date | Last Calibrated by | Location | Assigned to | Condition
326 | L1137 | MY44021464 | Agilent | 34970A | Aglient 34970A Data Acquisition/Switch Unit |  |  |  | Eng 2nd Floor Shelf | Eng | Non functional- out of service on 10-22-2013
327 | VPEQ0000118 | US37017099 | Agilent | 34970A | Aglient 34970A Data Acquisition/Switch Unit |  |  |  | Eng 2nd Floor Shelf | Eng | Non functional- out of service on 02-24-2020
52 | VPEQ0000697 | US37046206 | Agilent | 34970A | Aglient 34970A Data Acquisition/Switch Unit |  |  |  | Eng 2nd Floor Shelf | Eng | Non functional- out of service on 10-24-2023
323 | VPEQ0001230 | MY44092504 | Keysight | 34970A | Keysight 34970A - Data Acquisition/Switch Unit |  |  |  | Eng 2nd Floor Shelf | Eng | Non functional- out of service on 10-22-2018
329 | VPEQ000435 |  | Agilent | E3646A | Aglient Dual Output DC Power Supply | N/A |  |  | Eng 2nd Floor Shelf | Eng | Non functional
330 | VPEQ0001190 | M457000256 | Keysight | 34901A | 20 Channel Multiplexer | 2020-06-17 |  |  | Eng 2nd Floor Shelf | Eng | Non functional -out of Service 06/17/20, Will not read Channels