## Sheet1
Engineering Lab Equipment
MAY 2025 Calibrated
Blue Dot | Asset Numbers | Serial Number | Manufacturer | Model | Description | Chk List | Location | How Old is Equip (Years)
1 | VPEQ0000014 | AQ76/7626 | Voltech | PM300 | Voltec PM100 Single Phase Power Analyzer | √ | Eng Lab Randys Bench | 10+
300-1 | VPEQ0000177 | 3737U15575 | HP | 4934A | HP 4934A DBR Meter | √ | ENg Lab Shelf | 10+
| VPEQ0000289 | CA90/8362 | Voltech | CL100 | 100A Current Clamp (Voltech) | √ | Eng Lab Randys Bench | 10+
73 | VPEQ0000294 | NSN | LeCroy | ADP305 | Active Differential Probe
285 | VPEQ0000340 | MY44002939 | Agilent | 34970A | HP/Agilent 34970A - Data Acquisition/Switch Unit
345 | VPEQ0000341 | MY41004293 | Agilent | 34908A | 40CH Multifunction Card Module
9 | VPEQ0000457 | 88790032 | Fluke | 187 True RMS Multimeter | Fluke Handheld
346 | VPEQ0000478 | MY41005204 | Agilent | 34908A | 40CH Multifunction Card Module
70 | VPEQ0000576 | 0269 | LeCroy | CP150 | CP150 150A AC-DC Current Probe
300 | VPEQ0000588 | AY146/3377 | Voltech | PM300 | Three Phase Power Analalyzer
16 | VPEQ0000635 | MY44008556 | Agilent | 34970A | HP/Agilent 34970A - Data Acquisition/Switch Unit
49 | VPEQ0001279 | C016282 | Tektronix | TDS3054C | TEK TDS3054C 4CH/500MHz
1 | VPEQ0001314 | 55760325WS | Fluke | 393 FC CAT III 1500V | TRMS Clamp Meter
29 | VPEQ0000959 | MSO5204/C014146 | Tektronix | MSO5204 | Mixed Signal Oscilloscope 16CH 2 GHz 10 GHS/s
284 | VPEQ0001178 | C2SG28011V | Yokogawa | WT310E | Yokogawa WT310E Power Meter
| VPEQ0000646 | NSN |  | M 15 x 100 | Oscilloscope Passive Probe X100
278 | VPEQ0000242 | LCRY0602P11777 | LeCroy | 6050 | Lecroy Waveruner LT264M 500 MHz / 5Gs/s
87 | VPEQ0000048 | 3584 | LeCroy | AP015 | DC-50MHz 30A Current Probe
80 | VPEQ0000285 | MSN | LeCroy | AP011 | DC-120KHz 150A Current Probe
86 | VPEQ0000286 | 0016 | LeCroy | AP015 | DC-50MHz 30A Current Probe
81 | VPEQ0000287 | 0529 | LeCroy | CP150 | CP150 150A AC-DC Current Probe
82 | VPEQ0000575 | 0417 | LeCroy | CP150 | CP150 150A AC-DC Current Probe
74 | VPEQ0000577 | 1041353 | LeCroy | ADP305 | Active Differential Probe
290 | VPEQ0000060 | 8024037 | Fluke | Fluke 45 Dual Display | Fluke 45 Dual Display Multimeter
269 | VPEQ0001071 | MY44019817 | Keysight | 34970A | HP/Agilent 34970A - Data Acquisition/Switch Unit
78 | VPEQ0000771 | 13730120 | Fluke | 336 | Fluke 336 Current Clamp
59 | VPEQ0000603 | 95900463 | Fluke | 337 | Fluke 337 Current Clamp
128 | VPEQ0000876 | 17640822 | Fluke | 374 with probe | Fluke 374 Clamp Meter with I Flex i2500-10 Probe
121 | VPEQ0000458 |  | Fluke | 187 True RMS Multimeter | Fluke Handheld
| VPEQ0000296 |  |  | 112 True RMS Multimeter | Fluke Handheld
| VPEQ0000593 | CA138/0723 | Voltech | CL100 | 100A Current Clamp (Voltech)
91 | VPEQ0001168 |  | Tektronix | THDP0200 | 200 MHz, High Voltage Differential Probe
293 | VPEQ0000115 | 3146A29293 | HP | 34401A | HP 34401A
108 | VPEQ0001188 | SG44001660 | Keysight | 34970A | HP/Agilent 34970A - Data Acquisition/Switch Unit
53 | VPEQ0000531 |  | LeCroy | 64Xi | Lecroy Waveruner 64xi 600 MHz /10 GS/s
| Need Asset No | C020792 | Tektronix | P5205A | 100MHz, High Voltage Differential Probe
| VPEQ0001153 |  | Simpson | 228 | Simpson 228 Leakage Current Tester
|  | DGATT000024 | Agilent | MY44043404 | HP/Agilent 34970A - Data Acquisition/Switch Unit
| Need Asset No | 107278YHDV | AEMC INSTR | JM861 | 600V AC Current Probe
| Need Asset No | 106753XKDV | AEMC INSTR | JM861 | 600V AC Current Probe
| Need Asset No | 106754XKDV | AEMC INSTR | JM861 | 600V AC Current Probe
| VPEQ0000226 | nsn | Ergonomics Inc. | ITB-01 | Steel Ball
| VPEQ0000225 | 104 | Ergonomics Inc. | ULP01 | Jointed Finger Probe
| VPEQ0000227 | 79 | Ergonomics Inc. | BPA10 | Ball Pressure Apparatus
Oct 2025 Cal
107 | VPEQ0000067 | US37245381 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A
117 | VPEQ0000071 | MY41143677 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A
120 | VPEQ0000072 | US41004867 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A
112 | VPEQ0000074 | MY41143679 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A
Murray | VPEQ0000078 | 80570100 | Fluke | 187 True RMS Multimeter | Fluke Handheld
110 | VPEQ0000111 | MY41008265 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A
119 | VPEQ0000147 | MY41143674 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A
Murray | VPEQ0000228 | 83510700 | Fluke | 337 | Fluke 337 Current Clamp
113 | VPEQ0000342 | MY41013541 | Agilent | 34908A | 40CH Multifunction Module
8 | VPEQ0000538 | 92520076 | Fluke | 187 True RMS Multimeter | Fluke Handheld
| VPEQ0000584 | 943684503 | Fluke | i1000s | AC Current Probe 1000A
| VPEQ0000585 | 9501 84953 | Fluke | i1000s | AC Current Probe 1000A
| VPEQ0000586 | 950184959 | Fluke | i1000s | AC Current Probe 1000A
| VPEQ0000592 | CA138/0718 | Voltech | CL100 | 100A Current Clamp (Voltech)
289 | VPEQ0000581 | 04NN57390v | Tektronix | A622 | AC/DC Current Probe
344 | VPEQ0000742 | DM9441003 | Fluke | 435 | Power Analyzer
111 | VPEQ0000826 | MY41147579 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A
116 | VPEQ0001025 | MY41193615 | Keysight | 34901A | Keysight 20 T-Couple Module 34901A
118 | VPEQ0001111 | MY41054018 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A
115 | VPEQ0001113 | MY41004416 | Agilent | 34901A | HP/Agilent 20 T-Couple Module 34901A
325 | VPEQ0001298 | C023272 | Tektronix | P5205A | 100 MHz, High Voltage Diff Probe
273 | VPEQ0000214 | 85780037 | Fluke | 187 True RMS Multimeter | Fluke Handheld
| VPEQ0001048 | PH50293781 | Keysight | N2791A | 25 MHz Differential Probe
Randy | VPEQ0001383 | 65780163 | Fluke | Fluke-87V-MAX | RMS Digital Multimeter
Nadar | VPEQ0001384 | 65780186 | Fluke | Fluke-87V-MAX | RMS Digital Multimeter
| VPEQ0001487 | T11A23275 | Yokogawa | WT333E | Digital Power Meter
| VPEQ0001486 | T11912803 | Yokogawa | WT333E | Digital Power Meter
| 10002348 | C2ZL20001V | Yokogawa | WT1806E | Digital Power Analyzer
286 | VPEQ0001074 | 02NN39617DV | Tektronix | A621 | AC Current Probe 1000A
89 | VPEQ0001299 | PH57140010 | Keysight | N2791A | 25 MHz Differential Probe
Non Cal Equip
280 | 6 | B020974 | Tektronix | 2245A | Tektronix 2245A 100MHz Osililloscope
| Delta Greentech DGATT0024 | MY44043404 | Agilent | Aglient 34970A | Aglient 34970A Data Acquisition/Switch Unit
| IN424 | 2137A09088 | HP | 3468A | HP 3468A Multimeter
266 | IN436 | 2137A10615 | HP | HP 3468A Multimeter | HP 3468A Multimeter
31 | IN562 | 4850221 | Fluke | Fluke 45 Dual Display | Fluke 45 Dual Display Multimeter
| IN820 | 63012593 | Fluke | 80i-1010 | DC/ AC Current Probe
7 | IN854 | 2137A13967 | HP | 3468A | HP 3468A Multimeter
| L914 | 73900078 | Fluke | 8060 TRUE RMS Multimeter | Fluke Handheld Multimeter
322 | N/A | 794651 | Keithley | 2000 Multimeter | 2000 Multimeter
260 | N/A | Z396708 | Extech Instruments | Extech 461891 | Digital Contact Tachometer
108 | N/A | SG44001660 | Keysight | Keysight 34970A | Keysight 34970A Data Acquisition/Switch Unit
261 | N/A | PS280 TW57607 | Tektronix | PS280 | Tektronix DC Power Supply
32 | N/A | E-10100 | Kepco | ABC | Kepco ABC Regulated DC Power Supply
295 | N/A | 37382 | Clarke-hess | 255 | Clarke-hess Digital V-A-W Meter
282 | N/A | MY40005220 | Agilent | 54422D | Agilent Mixed Signal Oscilloscope 100MHz / 200MS
343 | N/A | MY40001177 | Agilent | 54422D | Agilent Mixed Signal Oscilloscope 100MHz / 200MS
10 | N/A | B010331 | Tektronix | TDS 320 | Tektronix Two Ch Oscilloscope 100MHz / 500MS
| N/A | 265 0200 0265 | BK Precision | 1740 | DC Power Supply
| N/A | US37039814 | Agilent | Aglient 34970A | Aglient 34970A Data Acquisition/Switch Unit
| N/A | 8990 | Fischer Custom Comm | P/N F-61 | FCC RF Current Probe 1MHz-1GHz
262 | N/A | 10246U | Yew (Yokogawa Elec Works | Current-Amp Meter | Yew Analog Current Amp Meter
263 | N/A | 10248U | Yew | Current-Amp Meter | Yew Analog Current Amp Meter
264 | N/A | 93638S | Yew | Current-Amp Meter | Yew Analog Current Amp Meter
334 | N/A | 0530-007950-001 | Cambridge AccuSense | ATM-24 | Airflow Temperature Monitor ATM-24
| N/A | 97640085 | Fluke | Fluke-287 | Fluke-287 True RMS Multimeter
| N/A |  | Fluke | 111 True RMS Multimeter | Fluke Handheld Multimeter
| N/A | 20051901345 | Velleman | DVM850BL | Velleman Digital Multimeter
276 | VPEQ0000005 | 717 | LeCroy | LT264M | Lecroy Waveruner LT264M 350 MHz / 1Gs/s
277 | VPEQ0000054 | 859 | LeCroy | WaveRunner LT264M | Lecroy Waveruner LT264M 350 MHz / 1Gs/s
342 | VPEQ0000006 | MY40005441 | Agilent | 54622D | Aglient Mixed Signal Oscilloscope 100MHz/ 200ms
336 | VPEQ0000012 | AQ75/7528 | Voltech | PM100 | Voltech PM100 Single Phase Power Analyzer
347 | VPEQ0000013 | AQ76/7630 | Voltech | PM100 | Voltech PM100 Single Phase Power Analyzer
| VPEQ0000021 |  | Topward | 6603A | Topward Dual Tracking DC Power Supply
337 | VPEQ0000027 | 693354 | Topward | 8140 | Topward 8140 Fuction Generator
| VPEQ0000031 | 79070393 | Fluke | 87 III True RMS Multimeter | Fluke Handheld Multimeter
| VPEQ0000032 |  | Fluke | Fluke-87 | Fluke-87 True RMS Multimeter
| VPEQ0000039 | 77150454 | Fluke | Fluke 87 III | Fluke 87 III True RMS Multimeter
| VPEQ0000041 | 79330082 | Fluke | 111 True RMS Multimeter | Fluke Handheld Multimeter
| VPEQ0000042 | 77150442 | Fluke | Fluke 87 III | Fluke 87 III True RMS Multimeter
| VPEQ0000047 | 64 | Fischer Custom Comm. | Current - Fischer F-16 | RF Current Probe - 1KHz -50MHz
338 | VPEQ0000063 | 8010040 | Fluke | Fluke 45 Dual Display | Fluke 45 Dual Display Multimeter
| VPEQ0000079 | 80630051 | Fluke | Fluke-187 | Fluke-187 True RMS Multimeter
28 | VPEQ0000080 |  | Topward | 6603A | Topward Dual Tracking DC Power Supply
15 | VPEQ0000082 |  | Topward | 6603D | Topward Dual Tracking DC Power Supply
125 | VPEQ0000102 | 020101806 | Wavetek | 5XL | Wavetek Meterman (Meter)
314 | VPEQ0000123 | 9330221 | Assoc Research Inc | 3670 | Hypot III
51 | VPEQ0000190 | B015946 | Tektronix | TDS3032B | TEK TDS3032B
| VPEQ0000195 | 84060279 | Fluke | 111 True RMS Multimeter | Fluke Handheld Multimeter
| VPEQ0000217 | 85780040 | Fluke | Fluke-187 | Fluke-187 True RMS Multimeter
27 | VPEQ0000223 | 8298008 | Fluke | Fluke 45 Dual Display | Fluke 45 Dual Display Multimeter
3 | VPEQ0000231 |  | GW | GPC-6030D | GW Dual Tracking Power Supply
268 | VPEQ0000232 | E812340 | GW | GPC-6030D | GW Dual Tracking Power Supply
92 | VPEQ0000240 | B020767 | Tektronix | P5205 | Active Differential Probe
278 | VPEQ0000242 | LCRY0602P11777 | LeCroy | 6050 | Lecroy Waveruner LT264M 500 MHz / 5Gs/s
77 | VPEQ0000249 | 84156845 | Fluke | Fluke - 336 | True RMS Clamp Volt / Current Meter
| VPEQ0000290 | CA90/8361 | Bradford England / Voltech | CL100 | 100A Current Clamp (Voltech)
69 | VPEQ0000295 |  | LeCroy | ADP305 | High Voltage Differential Probe
340 | VPEQ0000437 | 2534GA931 | Yokogawa | WT110 | Yokogawa WT110 Digital Power Meter
| VPEQ0000444 | NSN1388820A | Tektronix | P6021 | TEK 6021 Current
| VPEQ0000445 | X001937 | Tektronix | P6021 | TEK 6021 Current
12 | VPEQ0000474 | AX110/2314 | Voltech | PM100 | Voltech PM100 Single Phase Power Analyzer
339 | VPEQ0000489 | 27EA15596 | Yokogawa | WT210 | Yokogawa WT210 Digital Power Meter
| VPEQ0000539 |  | Fluke | Fluke-187 | Fluke-187 True RMS Multimeter
281 | VPEQ0000543 | 920909 | Fluke | Fluke 45 Dual Display | Fluke 45 Dual Display Multimeter
348 | VPEQ0000544 | AV130/2914 | Voltech | PM300 | Voltech PM300 Three Phase Power Analyzer
| VPEQ0000545 | X002660 | Tektronix | P6021 | TEK 6021 Current
129 | VPEQ0000549 | 92400430 | Fluke | 337 | Fluke 337 Current Clamp
288 | VPEQ0000583 | 11EE6417Dv | Tektronix | A622 | AC/DC Current Probe
85 | VPEQ0000546 | P0840763388 | LeCroy | AP015 | Current Probe DC-50MHz, Max Peak 50A
287 | VPEQ0000580 | 11EE64190v | Tektronix | A622 | AC/DC Current Probe
289 | VPEQ0000581 | 11EE6420Dv | Tektronix | A622 | AC/DC Current Probe
90 | VPEQ0000582 | 11EE6435Dv | Tektronix | A622 | AC/DC Current Probe
| VPEQ0000587 | 907 | Fischer Custom Comm. | Current - Fischer F-33-1 | RF Current Probe - 10KHz - 250MHz
| VPEQ0000594 | CA142 / 0961 | Bradford England / Voltech | CL100 | 100A Current Clamp (Voltech)
| VPEQ0000595 | CA142 / 0959 | Bradford England / Voltech | CL100 | 100A Current Clamp (Voltech)
| VPEQ0000596 | CA142 / 0960 | Bradford England / Voltech | CL100 | 100A Current Clamp (Voltech)
279 | VPEQ0000601 | 2137A06490 | HP | HP 3468A Multimeter | HP 3468A Multimeter |  |  | 10+
| VPEQ0000605 | C6941304 | Wavetek | 270 | Wavetek 12 MHz Programmable Function Generator
| VPEQ0000625 | 0516-0370 | TDI | TDI -100-300-2000 | TDI Electronic Load
331 | VPEQ0000631 | 5104 | Schaffner | NSG 435 | ESD Simulator
333 | VPEQ0000632 | 346 | Schaffner | NSG 431 | Static Discharge Simulator 2 to 21KV
| VPEQ0000636 | MY41004292 | Agilent | 34980A | 40CH Multifuction
294 | VPEQ0000648 | E813167 | GW | GPC-6030D | GW Dual Tracking Power Supply
84 | VPEQ0000659 | 72033 | Probe Master | 4241A | High Voltage Differential Probe
| VPEQ0000683 | 87020055 | Fluke | Fluke-189 | Fluke-189 True RMS Multimeter
335 | VPEQ0000686 | 2943U01637 | HP | 4934A | Hewlet Packard 4934A Prog Function Generator
| VPEQ0000698 | 95871045 | Fluke | 115 True RMS Multimeter | Fluke Handheld Multimeter
76 | VPEQ0000768 | 1290129 | Fluke | Fluke - 336 | True RMS Clamp Volt / Current Meter
79 | VPEQ0000770 | 13420012 | Fluke | Fluke - 336 | True RMS Clamp Volt / Current Meter
283 | VPEQ0000808 |  | Agilent | 34970A | Aglient 34970A Data Acquisition/Switch Unit
| VPEQ0000874 | 130396 | Esco Technologies | 7405-907B | Near-Field Probe Set Broadband Amplifier
127 | VPEQ0000875 | 18600730 | Fluke | 376 with probe | Fluke 376 Clamp Meter with I Flex i2500-18 Probe
132 | VPEQ0000938 | 49039324 | Flir | Flir- E49001 | Fllir- E50 Thermal Canera
88 | VPEQ0001066 |  | Extech Instruments | 407113 | CFM/CMM Thermo-Anemometer
286 | VPEQ0001074 | 02NN39617DV | Tektronix | A621 | AC Current Probe 1000A
75 | VPEQ0001075 | C002035 | Tektronix | TCP202A | Small Current Probe 15ADC
67 | VPEQ0001124 | 33114-5967 | Tektronix | TRCP0300 | Current Waveform Transducer (Loop Ring)
68 | VPEQ0001125 | 33112-5965 | Tektronix | TRCP0300 | Current Waveform Transducer (Loop Ring)
91 | VPEQ0001168 | C024709 | Tektronix | THDP0200 | Active Differential Probe (For the Tek Mso 5204 Oscope)
105 | VPEQ0001189 | MY57000268 | Keysight | 34901A | 20 Channel Multiplexer
330 | VPEQ0001190 | MY57000256 | Keysight | 34901A | 20 Channel Multiplexer
66 | VPEQ0001196 | 35752-7017 | CWT | CWT-PEM | Rogowski Current WaveformTransducer Pk Cur: 120.0A
324 | VPEQ0001208 | C025314 | Tektronix | P5205A | Active Differential Probe
| N/A | C020792 | Tektronix | P5205A | Active Differential Probe
298 | VPEQ0001242 | CU640/123 | Pico | PicoScope 4824 | 20 MHz 80MS/s PC Oscilloscope
325 | VPEQ0001298 | C023272 | Tektronix | P5205A | Active Differential Probe
64 | VPEQ0001300 | 56962-15112 | CWT | CWT-PEM | Rogowski Current WaveformTransducer Pk Cur: 300.0A
66 | VPEQ0001301 | 59100-16060 | CWT | CWT-PEM | Rogowski Current WaveformTransducer Pk Cur: 600.0A
| VPEQ0001302 | 58129-15682 | CWT | CWT-PEM | Rogowski Current WaveformTransducer Pk Cur: 120.0A
29 | VPEQ0000959 | C014146 | Tektronix | MSO 5204 | Tektronix 4/16 CH Oscilliscope 2GHz
48 | VPEQ001274 | TDS3014 B018429 | Tektronix | TDS 3014 | Tektronix 4 Channel Osciliscope 100MHz / 1.25 GS (flopy Drv)
44 |  | PS280 TW58327 | Tektronix | PS280 | Tektronix PS280 DC Power Supply
|  | 120270 | Fluke | 80T-IR | Fluke Infared Temperature Probe 0 to 500F/-18 to 260 C
257 | N/A | N/A | LeCroy |  | PPE 2KV 100:1 400 MHz High Voltage Probe
| VPEQ0000016 | US39440471 | HP | E4401B | Spectrum Analyzer
| VPEQ0000610 | MY44011083 | Agilent | 34970A | Agilent 34970A
301 | N/A | 631400008464 | Chroma | 63114 | Chroma 63114 DC Electronic Load Mainframe 8 ch
| VPEQ0000625 | 0516 - 0370 | TDI | RBL488 400-300-2000 | Electronic Load 400V / 300A
30 | N/A | 3507 | Chroma | 6530 | Programable AC Source
50 | VPEQ0000193 | B028330 | Tektronix | TDS3034B | TEK TDS3034B 4CH/300MHz
265 | IN447 | 2137A11194 | HP | 3468 | DMM
297 | VPEQ0000513 | 3146A33487 | Agilent | 34401A | HP 34401A
| VPEQ0000698 |  | Fluke | 115 True RMS Multimeter | Fluke Handheld
71 | VPEQ0000578 | 1029100 | LeCroy | ADP305 | Active Differential Probe
72 | VPEQ0000579 | 1041354 | LeCroy | ADP305 | Active Differential Probe
17 | VPEQ0000533 | LCRY0301J14416 | LeCroy | WaveSurfer 424 | Lecroy WaveSurfer 424 200MHz / 2Gs/s
54 | VPEQ0000532 | LCRY0301j14440 | LeCroy | WaveSurfer 424 | Lecroy WaveSurfer 424 200MHz / 2Gs/s
300-2 | VPEQ0000616 | 836 | Lecroy | Lecroy LT344L | Waverunner O Scope 500 MHz
Eng Automated Test Sets (ATS) Calibrated Equip
170 | VPEQ0000589 | AU30 / 2636 | Voltech | PM3000 | Three Phase Power Analyzer
300 | VPEQ0000615 | 27EA22557 | Yokogawa | WT210 | Yokogawa WT210 Power Analyzer
300 | VPEQ0000609 | MY44010987 | Agilent | 34970A | HP/Agilent 34970A - Data Acquisition/Switch Unit
300 | VPEQ0001049 | MY54410123 | Keysight | DSO6012A-ATO-62342 | 2 ch, 100 MHz , 2 GS/s
300 | VPEQ0000607 | MY40001884 | Agilent | E3647A | Agilent E3647A Dual Output DC Power Supply
300 | VPEQ0001048 | PH50293781 | Keysight | N2791A | 25MHz Differential Probe
300-2 | VPEQ0000616 | 836 | Lecroy | Lecroy LT344L | Waverunner O Scope 500 MHz
Non Working Equipment
| L1137 | MY44021464 | Agilent | 34970A | Aglient 34970A Data Acquisition/Switch Unit
| VPEQ0000118 | US37017099 | Agilent | 34970A | Aglient 34970A Data Acquisition/Switch Unit
| VPEQ0000697 | US37046206 | Agilent | 34970A | Aglient 34970A Data Acquisition/Switch Unit
| VPEQ0001230 | MY44092504 | Keysight | 34970A | Keysight 34970A - Data Acquisition/Switch Unit
| VPEQ000435 |  | Agilent | E3646A | Aglient Dual Output DC Power Supply
| VPEQ0001190 | M457000256 | Keysight | 34901A | 20 Channel Multiplexer